## Table_B1
Table B.1 Major Disturbances and Unusual Occurrences, Year-to-Date 2012
YEAR | MONTH | Date | Utility/Power Pool (NERC Region) | EVENT_DATE | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected | Restoration
2012 | 1 | 04/01/12 | Tacoma Power (TPWR) | 12:14 PM | Tacoma, Washington | Suspected physical attack | N/A | N/A | 04JAN2012:12:14:00
2012 | 1 | 05/01/12 | American Electric Power | 10:35 AM | CSWS/AEP West territory, Oklahoma | Sabotage | 0 | 0 | 05JAN2012:12:25:00
2012 | 1 | 05/01/12 | Oklahoma Gas and Electric | 10:28 AM | Creek County, Oklahoma | Suspected physical attack | N/A | N/A | 05JAN2012:12:25:00
2012 | 1 | 09/01/12 | ISO New England/Convex | 2:30:00 PM | Watertown, Connecticut | Vandalism | N/A | N/A | 09JAN2012:15:30:00
2012 | 1 | 09/01/12 | The Dow Chemical Company | 1:36:00 PM | Louisiana | Load Shed | 150 | 1 | 11JAN2012:01:05:00
2012 | 1 | 10/01/12 | Luminant Energy Company LLC | 9:30:00 PM | Rusk County, Texas | Load Shed | N/A | N/A | 10JAN2012:21:30:00
2012 | 1 | 11/01/12 | Nevada Power Company (NV Energy) | 7:19:00 AM | Nevada | Suspected Physical Attack | 0 | 0 | 11JAN2012:09:07:00
2012 | 1 | 12/01/12 | Delmarva Power & Light Company | 8:26:00 AM | Newark, Delaware | Physical Attack | 0 | 0 | 12JAN2012:08:26:00
2012 | 1 | 13/01/12 | Delmarva Power & Light Company | 9:20:00 AM | Newark, Delaware | Physical Attack | 0 | 0 | 13JAN2012:09:20:00
2012 | 1 | 15/01/12 | Tacoma Power (TPWR) | 9:35:00 AM | Tacoma, Washington | Vandalism | N/A | N/A | 15JAN2012:09:35:00
2012 | 1 | 17/01/12 | Pedernales Electric Cooperative, Inc. | 10:31 AM | Austin, Texas | Suspected Cyber Attack | N/A | 0 | 17JAN2012:17:21:00
2012 | 1 | 19/01/12 | Puget Sound Energy | 7:00:00 AM | King, Pierce and Thurston Counties, Washington | Severe Weather - Winter Storm | 1600 | 426000 | 20JAN2012:15:00:00
2012 | 1 | 24/01/12 | Tacoma Power (TPWR) | 11:22 AM | Tacoma, Washington | Vandalism | N/A | N/A | 24JAN2012:11:22:00
2012 | 1 | 27/01/12 | Tacoma Power (TPWR) | 9:40:00 AM | Frederickson Substation, Spanaway, Washington | Vandalism | N/A | N/A | 27JAN2012:09:40:00
2012 | 1 | 29/01/12 | Tacoma Power (TPWR) | 12:45 PM | Roosevelt Substation, Tacoma, Washington | Vandalism | N/A | N/A | 29JAN2012:12:45:00
2012 | 2 | 11/02/12 | Tacoma Power (TPWR) | 8:55:00 AM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 11FEB2012:08:55:00
2012 | 2 | 11/02/12 | Xcel Energy (Public Service Company of Colorado) | 8:47:00 AM | Lamar, Colorado | Suspected Physical Attack | 0 | 0 | 11FEB2012:10:30:00
2012 | 2 | 13/02/12 | Progress Energy Carolinas | 7:02:00 AM | Asheville, North Carolina | Suspected Physical Attack | N/A | N/A | 13FEB2012:16:25:00
2012 | 2 | 14/02/12 | Tacoma Power (TPWR) | 7:20:00 PM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 15FEB2012:16:00:00
2012 | 2 | 15/02/12 | Puget Sound Energy | 5:33:00 AM | Port Orchard, Washington | Suspected Physical Attack | 0 | 0 | 15FEB2012:17:30:00
2012 | 2 | 17/02/12 | Entergy Services, Inc | 3:00:00 AM | Little Rock, Arkansas | Suspected Cyber Attack | UNK | UNK | 17FEB2012:11:33:00
2012 | 2 | 19/02/12 | American Electric Power | 5:00:00 PM | Kentucky, Virginia, West Virginia | Severe Weather - Winter Storm | UNK | 90000 | 21FEB2012:07:33:00
2012 | 2 | 23/02/12 | ISO New England | 11:12 PM | Londonderry, New Hampshire | Suspected Physical Attack | 0 | 0 | 24FEB2012:01:00:00
2012 | 2 | 23/02/12 | City of College Station | 5:45:00 AM | South East College Station, Texas | Suspected Physical Attack | 0 | 0 | 23FEB2012:15:02:00
2012 | 2 | 24/02/12 | Tacoma Power (TPWR) | 11:24 AM | Spanaway, Washington | Suspected Physical Attack | N/A | N/A | 24FEB2012:11:49:00
2012 | 2 | 28/02/12 | Coos Curry Electric Cooperative | 7:00:00 AM | Coos County Oregon | Suspected Physical Attack | UNK | UNK | 28FEB2012:07:00:00
2012 | 2 | 28/02/12 | Pacific Gas and Electric | 2:59:00 AM | Sacramento, California | Electrical System Separation (Islanding) | 1 | 1 | 28FEB2012:06:12:00
2012 | 3 | 02/03/12 | Consumers Energy | 9:00:00 PM | Lower Peninsula, Michigan | Severe Weather - Winter Storm | 50 | 140000 | 04MAR2012:17:30:00
2012 | 3 | 02/03/12 | Detroit Edison, Subsidiary of DTE Energy | 9:00:00 PM | Southeastern, Michigan | Severe Weather - Winter Storm | 371 | 130000 | 05MAR2012:16:30:00
2012 | 3 | 02/03/12 | City of Piggott, Arkansas | 1:45:00 PM | Piggott, Arkansas | Operational Failure/Equipment Malfunction | N/A | N/A | 02MAR2012:15:30:00
2012 | 3 | 02/03/12 | Tennessee Valley Authority (TVA) | 12:37 PM | Northern Alabama; Southeast Tennessee | Severe Weather - Tornadoes | 500 | UNK | 05MAR2012:12:01:00
2012 | 3 | 04/03/12 | Entergy Corporation | 1:38:00 PM | Texas | Suspected Physical Attack | UNK | UNK | 05MAR2012:11:00:00
2012 | 3 | 04/03/12 | Potomac Electric Power (Pepco Holdings Inc.) | 1:27:00 AM | Prince Georges County, Maryland | Suspected Physical Attack | N/A | N/A | 04MAR2012:06:58:00
2012 | 3 | 16/03/12 | Delmarva Power & Light Company | 4:00:00 PM | New Castle, Delaware | Suspected Physical Attack | 0 | 0 | 16MAR2012:16:00:00
2012 | 3 | 20/03/12 | CenterPoint Energy | 8:00:00 AM | Houston, Texas | Severe Weather - Thunderstorms | N/A | 96000 | 20MAR2012:13:00:00
2012 | 3 | 23/03/12 | Delmarva Power & Light Company | 7:34:00 PM | Newark, Delaware | Suspected Physical Attack | 0 | 0 | 23MAR2012:19:34:00
2012 | 3 | 26/03/12 | Tacoma Power (TPWR) | 1:24:00 PM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 26MAR2012:13:24:00
2012 | 3 | 28/03/12 | Tacoma Power (TPWR) | 10:17 AM | Graham, Washington | Suspected Physical Attack | N/A | N/A | 28MAR2012:10:17:00
2012 | 3 | 29/03/12 | Lansing Board of Water & Light | 12:01 PM | Lansing, Michigan | Electrical System Separation (Islanding) | UNK | 0 | 29MAR2012:12:02:00
2012 | 3 | 30/03/12 | ISO New England | 11:10 AM | Vermont | Suspected Physical Attack | N/A | N/A | 30MAR2012:11:30:00
2012 | 4 | 01/04/12 | Mid American Energy Company | 8:27:00 PM | Council Bluffs, Iowa | Vandalism | 0 | 0 | 03APR2012:08:28:00
2012 | 4 | 03/04/12 | Seattle City Light | 3:33:00 PM | Seattle, Washington | Physical Attack | 0 | 0 | 03APR2012:20:25:00
2012 | 4 | 03/04/12 | ISO New England | 11:10 AM | West Rutland, Vermont | Vandalism | 0 | 0 | 03APR2012:11:25:00
2012 | 4 | 04/04/12 | Western Area Power Authority - Sierra Nevada Region (WASN) | 3:32:00 PM | WAPA-SNR Regional Office, California | Suspected Physical Attack | N/A | N/A | 06APR2012:15:30:00
2012 | 4 | 07/04/12 | Delmarva Power & Light Company | 9:31:00 AM | Newark, Delaware | Physical Attack | 0 | 0 | 07APR2012:09:32:00
2012 | 4 | 07/04/12 | Delmarva Power & Light Company | 12:25 PM | Newark, Delaware | Physical Attack | 0 | 0 | 07APR2012:12:26:00
2012 | 4 | 07/04/12 | Delmarva Power & Light Company | 2:35:00 PM | Newark, Delaware | Physical Attack | 0 | 0 | 07APR2012:14:36:00
2012 | 4 | 11/04/12 | North Attleborough Electric Department | 9:00:00 AM | North Attleboro, Massachusetts | Vandalism | 0 | 0 | 11APR2012:09:00:00
2012 | 4 | 12/04/12 | Tacoma Power (TPWR) | 8:08:00 AM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 12APR2012:16:30:00
2012 | 4 | 15/04/12 | Southern Company | 7:38:00 PM | Georgia | Suspected Physical Attack | UNK | UNK | 15APR2012:21:26:00
2012 | 4 | 16/04/12 | Detroit Edison, Subsidiary of DTE Energy | 3:46:00 PM | Southeast, Michigan | Severe Weather - High Winds | 218 | 111393 | 19APR2012:02:00:00
2012 | 4 | 17/04/12 | San Diego Gas & Electric Company | 6:11:00 AM | San Diego County, California | Suspected Physical Attack | 0 | 0 | 17APR2012:17:48:00
2012 | 4 | 19/04/12 | Tacoma Power (TPWR) | 7:53:00 AM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 19APR2012:16:00:00
2012 | 4 | 20/04/12 | CenterPoint Energy | 2:27:00 PM | Metropolitan Houston, Texas | Severe Weather - Thunderstorms | N/A | 120377 | 21APR2012:04:27:00
2012 | 4 | 21/04/12 | Tacoma Power (TPWR) | 8:55:00 PM | Tacoma, Washington | Suspected Physical Attack | N/A | N/A | 23APR2012:16:30:00
2012 | 4 | 21/04/12 | ISO New England | 3:02:00 PM | East Bridgewater, Massachusetts | Physical Attack | N/A | N/A | 21APR2012:20:09:00
2012 | 4 | 23/04/12 | Seattle City Light | 11:56 AM | Snohomish County, Washington | Suspected Physical Attack | N/A | N/A | 23APR2012:15:35:00
2012 | 4 | 23/04/12 | Northern Indiana Public Service Company (NIPSCO) | 8:11:00 AM | Northwest Indiana | Suspected Physical Attack | N/A | N/A | 23APR2012:12:47:00
2012 | 5 | 07/05/12 | American Electric Power (AEP) | 5:45:00 PM | Eastern Ohio | Load Shed/Severe Weather - Lightning Storm | 420 | 1 | 07MAY2012:18:06:00
2012 | 5 | 07/05/12 | ISO New England | 12:50 PM | Williston, Vermont | Vandalism | 0 | 0 | 07MAY2012:14:00:00
2012 | 5 | 11/05/12 | Tacoma Power (TPWR) | 11:05 AM | Lakewood, Washington | Vandalism | N/A | N/A | 11MAY2012:11:20:00
2012 | 5 | 24/05/12 | ISO New England | 3:20:00 PM | Tyngsborough, Massachusetts | Physical Attack | UNK | UNK | 25MAY2012:17:29:00
2012 | 5 | 29/05/12 | Tacoma Power (TPWR) | 6:30:00 PM | Alder Dam, Pierce County, Washington | Physical Attack | N/A | N/A | 29MAY2012:19:40:00
2012 | 5 | 29/05/12 | Oklahoma Gas & Electric | 8:35:00 PM | Oklahoma City Metro Area, Oklahoma | Severe Weather - Thunderstorms | UNK | 112000 | 31MAY2012:10:00:00
2012 | 5 | 31/05/12 | American Electric Power (AEP) | 11:45 PM | Columbus, Ohio | Physical Attack | 0 | 0 | 01JUN2012:04:30:00
Note: Customers affected are estimates and are preliminary.
Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'