## Table_B2
Table B.2 Major Disturbances and Unusual Occurrences, 2011
YEAR | MONTH | Date | Utility/Power Pool (NERC Region) | EVENT_DATE | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected | Restoration
2011 | 1 | 11/01/11 | New Athens Generating Co. LLC | 11:08 PM | Athens, New York | Electrical Fault at Generator | 0 | 0 | 11JAN2011:23:08:00
2011 | 1 | 12/01/11 | National Grid | 6:00:00 AM | Massachusetts | Winter Storm | N/A | 80000 | 12JAN2011:14:00:00
2011 | 1 | 13/01/11 | JEA | 7:21:00 AM | North Florida | Firm System Load Shed | 150 | 20900 | 13JAN2011:08:13:00
2011 | 1 | 18/01/11 | National Grid | 2:00:00 PM | Whitman, Auburn St Substation, Massachusetts | Vandalism | 0 | 0 | 18JAN2011:14:00:00
2011 | 1 | 23/01/11 | PacifiCorp | 7:00:00 AM | Franklin County, Idaho | Vandalism | 0 | 0 | 23JAN2011:13:00:00
2011 | 1 | 24/01/11 | El Paso Electric Company | 1:20:00 PM | Newman Power Plant, Texas | Suspicious Activity | 0 | 0 | 24JAN2011:13:30:00
2011 | 1 | 25/01/11 | Atlantic City Electric | 3:23:00 AM | Newark, Delaware | Vandalism | 0 | 0 | 25JAN2011:11:00:00
2011 | 1 | 26/01/11 | Dominion - Virginia Power | 7:43:00 PM | Northern Virginia | Winter Storm | 600 | 150084 | 27JAN2011:18:18:00
2011 | 1 | 26/01/11 | ITC Transmission | 9:33:00 AM | Michigan | Vandalism | 0 | 0 | 27JAN2011:15:03:00
2011 | 1 | 26/01/11 | Potomac Electric Power Co/ PEPCO Holdings Inc. | 5:00:00 PM | Montgomery and Prince George's County, Maryland and District of Columbia | Winter Storm | N/A | 210000 | 31JAN2011:08:00:00
2011 | 1 | 26/01/11 | NV Energy | 9:25:00 AM | Carson City, Nevada | Suspected Telecommunications Attack | 0 | 0 | 27JAN2011:17:00:00
2011 | 1 | 26/01/11 | Baltimore Gas and Electric Company | 6:28:00 PM | Maryland | Winter Storm | N/A | 234326 | 29JAN2011:17:00:00
2011 | 1 | 27/01/11 | AES Greenidge, LLC | 5:00:00 PM | Central New York | Fuel Supply Deficiency (Coal) | 108 | N/A | 30JAN2011:05:00:00
2011 | 1 | 27/01/11 | Delmarva Power & Light Company | 9:30:00 AM | Hockessin, Delaware | Vandalism | 0 | 0 | 27JAN2011:09:30:00
2011 | 1 | 31/01/11 | Duke Energy Midwest | 10:00 PM | Southwestern Ohio and Indiana | Ice Storm | 996 | 272880 | 03FEB2011:12:00:00
2011 | 2 | 01/02/11 | Exelon Corp/ComEd - Commonwealth Edison | 9:00:00 PM | Northern Illinois | Winter Storm | UNK | 190000 | 02FEB2011:14:00:00
2011 | 2 | 01/02/11 | American Electric Power - Ohio | 3:00:00 PM | Indiana, Ohio | Winter Storm | UNK | 158013 | 03FEB2011:12:00:00
2011 | 2 | 02/02/11 | ERCOT ISO | 5:43:00 AM | Texas | Generation Inadequacy/Load Shed | 4000 | 1069730 | 03FEB2011:10:00:00
2011 | 2 | 02/02/11 | Exelon Corporation/PECO | 3:00:00 AM | Philadelphia area, Pennsylvania | Winter Storm | UNK | 213000 | 04FEB2011:23:59:00
2011 | 2 | 02/02/11 | El Paso Electric Company | 7:24:00 AM | Dona Ana and El Paso Counties, Texas and Hudspeth County, New Mexico | Generation Inadequacy/Load Shed | 280 | 178000 | 02FEB2011:22:23:00
2011 | 2 | 02/02/11 | Salt River Project | 6:22:00 AM | Central Arizona | Generation Inadequacy/Load Shed | 3963 | 69000 | 02FEB2011:09:57:00
2011 | 2 | 02/02/11 | Southwestern Public Service | 5:00:00 PM | Texas Panhandle, Southeastern New Mexico | Fuel Supply Deficiency (Natural Gas) | UNK | UNK | 03FEB2011:22:00:00
2011 | 2 | 03/02/11 | ERCOT ISO | 10:04 PM | Texas | Generation Inadequacy/Load Shed | 400 | 86013 | 04FEB2011:12:32:00
2011 | 2 | 03/02/11 | San Diego Gas and Electric Company | 3:00:00 PM | San Diego area, California | Fuel Supply Deficiency (Natural Gas) | N/A | UNK | 04FEB2011:12:00:00
2011 | 2 | 03/02/11 | Potomac Electric Power Co/PEPCO Holdings Inc. | 2:30:00 PM | Bowie, Maryland | Suspected Cyber Attack | N/A | 0 | 03FEB2011:14:30:00
2011 | 2 | 09/02/11 | CenterPoint Energy | 3:45:00 AM | Western Houston, Texas | Winter Storm | 399 | 60000 | 09FEB2011:09:12:00
2011 | 2 | 09/02/11 | ERCOT ISO | 4:30:00 PM | Texas | Cold Weather Event | N/A | N/A | 10FEB2011:12:33:00
2011 | 2 | 09/02/11 | Tacoma Power - TPWR | 2:54:00 PM | University Place, Washington | Vandalism | 0 | 0 | 09FEB2011:17:00:00
2011 | 2 | 10/02/11 | Tacoma Power - TPWR | 1:00:00 PM | LaGrande, Washington | Vandalism | 0 | 0 | 10FEB2011:13:00:00
2011 | 2 | 17/02/11 | Pacific Gas and Electric | 1:25:00 AM | Northern and Central California | Major Storm | 91 | 80000 | 19FEB2011:10:13:00
2011 | 2 | 17/02/11 | City of Roseville (Roseville Electric) | 1:00:00 PM | Roseville, California | Suspected Cyber Attack | 0 | 0 | 23FEB2011:16:53:00
2011 | 2 | 19/02/11 | Delmarva Power & Light Company | 4:34:00 PM | Harrington, Delaware | Vandalism | 0 | 0 | 19FEB2011:16:34:00
2011 | 2 | 19/02/11 | Exelon Corporation/PECO | 12:30 PM | Philadelphia area, Pennsylvania | Major Storm | UNK | 118000 | 20FEB2011:04:00:00
2011 | 2 | 20/02/11 | Consumers Energy | 4:00:00 PM | Southern Lower Peninsula, Michigan | Winter Storm | 262 | 160000 | 23FEB2011:16:00:00
2011 | 2 | 24/02/11 | American Electric Power (CSWS-SPP) | 4:51:00 PM | Arkansas | Electrical System Separation (Islanding) | 4 | UNK | 24FEB2011:16:54:00
2011 | 2 | 25/02/11 | PacifiCorp | 10:30 AM | Salt Lake City, Utah | Vandalism | 0 | 0 | 25FEB2011:10:45:00
2011 | 2 | 25/02/11 | Baltimore Gas & Electric | 3:23:00 PM | Maryland | Severe Weather | UNK | 93000 | 27FEB2011:18:00:00
2011 | 2 | 25/02/11 | Pacific Gas and Electric | 8:00:00 AM | Northern and Central California | Winter Storm | 91 | 80000 | 28FEB2011:17:30:00
2011 | 2 | 25/02/11 | Dominion - Virginia Power | 3:20:00 PM | Virginia | Severe Weather | UNK | 50000 | 25FEB2011:18:00:00
2011 | 3 | 01/03/11 | AES Somerset | 8:00:00 AM | Western New York | Fuel Supply Deficiency (Coal) | 675 | UNK | 05MAR2011:09:30:00
2011 | 3 | 06/03/11 | PacifiCorp | 2:54:00 AM | Salt Lake City Region, Utah | Vandalism | UNK | 0 | 08MAR2011:08:00:00
2011 | 3 | 08/03/11 | AES Somerset | 8:00:00 AM | Western New York | Fuel Supply Deficiency (Coal) | 676 | UNK | 18MAR2001:09:00:00
2011 | 3 | 10/03/11 | ERCOT ISO | 12:03 PM | Texas | Suspected Physical Attack | N/A | N/A | 11MAR2011:06:00:00
2011 | 3 | 11/03/11 | Pacific Gas and Electric | 7:02:00 AM | Humboldt and Eureka, California | Generation Inadequacy/Load Shed | 15 | 6800 | 11MAR2011:09:15:00
2011 | 3 | 13/03/11 | PacifiCorp | 2:20:00 PM | Oregon | Severe Weather | UNK | 9000 | 14MAR2011:15:46:00
2011 | 3 | 14/03/11 | Baltimore Gas & Electric | 7:30:00 AM | Baltimore, Maryland | Suspected Cyber Attack | N/A | N/A | 14MAR2011:16:55:00
2011 | 3 | 15/03/11 | Entergy Services, Incorporated | 6:00:00 PM | The Woodlands, Texas | Suspected Physical Attack | N/A | N/A | 15MAR2011:19:14:00
2011 | 3 | 17/03/11 | ISO New England | 7:40:00 AM | Deerfield, New Hampshire | Vandalism | N/A | N/A | 17MAR2011:11:00:00
2011 | 3 | 18/03/11 | Dayton Power & Light | 9:54:00 AM | Greene County, Ohio | Vandalism | N/A | N/A | 18MAR2011:15:34:00
2011 | 3 | 19/03/11 | Pacific Gas and Electric | 11:56 PM | Northern and Central California | Major Storm | 91 | 128000 | 24MAR2011:19:10:00
2011 | 3 | 20/03/11 | Los Angeles Department of Water and Power | 9:44:00 AM | Los Angeles, California | Major Storm | UNK | 79000 | 21MAR2011:10:00:00
2011 | 3 | 21/03/11 | ISO New England | 12:57 AM | Deerfield, New Hampshire | Vandalism | N/A | N/A | 21MAR2011:02:29:00
2011 | 3 | 21/03/11 | ISO New England | 12:57 AM | Deerfield, New Hampshire | Vandalism | N/A | N/A | 21MAR2011:02:29:00
2011 | 3 | 21/03/11 | Southern California Edison Company (SCE) | 12:35 PM | Southern California | Major Storm | 150 | 54332 | 21MAR2011:14:45:00
2011 | 3 | 23/03/11 | American Electric Power - AEP | 6:30:00 PM | Indiana. Kentucky, Michigan, Ohio, Tennessee, Virginia, West Virginia | Major Storm | UNK | 60596 | 24MAR2011:04:55:00
2011 | 3 | 27/03/11 | Pacific Gas and Electric | 1:27:00 PM | Sonoma and Central Valley, California | Transmission Level Outage | 295 | 165000 | 27MAR2011:17:00:00
2011 | 3 | 31/03/11 | Progress Energy Florida (PEF) | 2:30:00 PM | Central and Western Florida | Severe Weather | UNK | 50000 | 01APR2011:23:59:00
2011 | 3 | 31/03/11 | Tampa Electric Company | 11:30 AM | Greater Tampa Bay, Florida | Severe Weather | 206 | 87000 | 31MAR2011:20:30:00
2011 | 4 | 03/04/11 | Entergy Corporation | 8:23:00 PM | Unknown | Suspected Cyber Attack | 0 | 0 | 05APR2011:15:00:00
2011 | 4 | 04/04/11 | Southern Company | 9:00:00 PM | Alabama, Florida, Georgia, Mississippi | Severe Weather | 674 | 303434 | 05APR2011:23:30:00
2011 | 4 | 04/04/11 | Entergy Corporation | 7:00:00 PM | Southeast Arkansas, Southeast Louisiana, Western Mississippi, Eastern Texas | Severe Weather | UNK | 74645 | 05APR2011:20:00:00
2011 | 4 | 04/04/11 | American Electric Power (AEP) | 7:00:00 PM | Kentucky, West Virginia | Severe Weather | UNK | 52920 | 05APR2011:12:00:00
2011 | 4 | 04/04/11 | Tennessee Valley Authority | 2:00:00 PM | Davidson Count, Tennessee | Severe Weather | 300 | 73000 | 08APR2011:00:01:00
2011 | 4 | 04/04/11 | Memphis Light Gas and Water Division | 1:00:00 PM | Shelby County, Tennessee | Severe Weather | 300 | 63000 | 05APR2011:00:00:00
2011 | 4 | 04/04/11 | Tennessee Valley Authority | 11:47 AM | Memphis, Tennessee | Severe Weather | 359 | 63000 | 08APR2011:00:01:00
2011 | 4 | 05/04/11 | Duke Energy Carolinas | 2:00:00 AM | North Carolina, South Carolina | Severe Weather | 1200 | 256000 | 07APR2011:23:00:00
2011 | 4 | 06/04/11 | Delmarva Power & Light Company | 10:50 AM | Felton, Delaware | Vandalism | 0 | 0 | 06APR2011:10:50:00
2011 | 4 | 11/04/11 | PacifiCorp | 5:40:00 PM | Salt Lake City, Utah | Suspicious Activity | 0 | 0 | 11APR2011:17:51:00
2011 | 4 | 16/04/11 | Progress Energy Carolinas Inc | 2:16:00 PM | Central and Eastern North Carolina | Severe Weather | UNK | 220000 | 17APR2011:16:30:00
2011 | 4 | 19/04/11 | Constellation Energy Control and Dispatch | 11:13 PM | Osceola, Arkansas | Severe Weather | 22 | UNK | 20APR2011:19:14:00
2011 | 4 | 19/04/11 | Ameren Illinois | 8:00:00 PM | Illinois | Severe Weather | UNK | 80000 | 19APR2011:22:00:00
2011 | 4 | 19/04/11 | Tennessee Valley Authority | 11:02 PM | Memphis, Tennessee | Severe Weather | 300 | 105000 | 21APR2011:17:32:00
2011 | 4 | 19/04/11 | Memphis Light Gas and Water Division | 10:44 PM | Memphis, Tennessee | Severe Weather | 100 | 64000 | 20APR2011:02:00:00
2011 | 4 | 19/04/11 | Tacoma Power Water Rail (TPWR) | 2:01:00 PM | Graham, Washington | Vandalism | 0 | 0 | 19APR2011:16:04:00
2011 | 4 | 20/04/11 | Duke Energy Midwest | 2:00:00 AM | Indiana, Kentucky, Ohio | Severe Weather - High Winds | UNK | 165711 | 21APR2011:12:00:00
2011 | 4 | 20/04/11 | City of Ruston & Constellation Energy | 8:07:00 AM | Ruston, Louisiana | Equipment Malfunction | 33 | 11000 | 20APR2011:08:14:00
2011 | 4 | 21/04/11 | ITC Holdings | 7:00:00 PM | Trenton, Michigan | Suspicious Activity | UNK | UNK | 29APR2011:19:05:00
2011 | 4 | 21/04/11 | PacifiCorp | 7:15:00 AM | Oquirrh Substation, Salt Lake City, Utah | Vandalism | 0 | 0 | 21APR2011:16:50:00
2011 | 4 | 22/04/11 | Ameren | 9:00:00 PM | Metro St. Louis area, Missouri | Severe Weather | 0 | 55000 | 22APR2011:23:00:00
2011 | 4 | 25/04/11 | Entergy Corporation | 5:30:00 PM | Arkasas, Louisiana, Mississippi | Severe Weather | UNK | 141700 | 27APR2011:18:00:00
2011 | 4 | 25/04/11 | Tennessee Valley Authority | 4:33:00 PM | Northeast Tennessee | Equipment Malfunction | 140 | UNK | 25APR2011:17:19:00
2011 | 4 | 26/04/11 | Tennesee Valley Authority | 9:51:00 AM | Alabama, Georgia, Mississippi, Tennessee | Severe Weather | UNK | 55000 | 28APR2011:09:51:00
2011 | 4 | 26/04/11 | Entergy Corporation | 5:49:00 AM | Southern Louisiana | Severe Weather | 120 | UNK | 27APR2011:09:59:00
2011 | 4 | 26/04/11 | West Memphis Utilities | 6:14:00 PM | Eastern Arkansas | Severe Weather | 50 | 13000 | 28APR2011:17:00:00
2011 | 4 | 26/04/11 | Pacificorp | 1:04:00 PM | Salt Lake City, Utah | Vandalism | 0 | 0 | 26APR2011:14:00:00
2011 | 4 | 27/04/11 | Southern Company | 8:00:00 AM | Alabama, Florida, Georgia, Mississippi | Severe Weather | 1422 | 426640 | 02MAY2011:16:03:00
2011 | 4 | 27/04/11 | American Electric Power | 10:00 PM | Ohio, Tennessee, Virginia | Severe Weather | 0 | 69000 | 28APR2011:10:00:00
2011 | 4 | 27/04/11 | Tennesee Valley Authority | 10:00 AM | Alabama, Georgia, Mississippi, Tennessee | Severe Weather | UNK | 612000 | 29APR2011:16:29:00
2011 | 4 | 28/04/11 | Mesquite Power, LLC | 4:09:00 PM | Phoenix, Arizona | Equipment Malfunction | 960 | UNK | 28APR2011:16:10:00
2011 | 4 | 28/04/11 | FirstEnergy Service Company | 5:00:00 AM | Cleveland area, Ohio | Severe Weather | UNK | 86000 | 30APR2011:18:30:00
2011 | 5 | 02/05/11 | PacifiCorp | 8:52:00 AM | N. Ogden Substation, Ogden, Utah | Vandalism | 0 | 0 | 02MAY2011:10:46:00
2011 | 5 | 02/05/11 | The United Illuminating Company | 2:00:00 PM | West River Substation, New Haven, Connecticut | Suspected Physical Attack | 220 | 62000 | 02MAY2011:14:00:00
2011 | 5 | 03/05/11 | New York Power Authority | 12:00 PM | St. Lawrence Power Dam, New York | Suspected Physical Attack | 0 | 0 | 05MAY2011:12:00:00
2011 | 5 | 04/05/11 | ITC Holdings, Inc. | 12:20 PM | Michigan | Suspected Sabatoge | 0 | 0 | 04MAY2011:15:40:00
2011 | 5 | 04/05/11 | FirstEnergy Generation | 1:08:00 PM | Maryland | Suspected Physical Attack | 0 | 0 | 04MAY2011:13:25:00
2011 | 5 | 05/05/11 | ISO New England | 9:15:00 AM | New Hampshire | Vandalism | 0 | 0 | 05MAY2011:09:15:00
2011 | 5 | 06/05/11 | PacifiCorp | 6:56:00 AM | Alderwood Substation, Portland, Oregon | Vandalism | 0 | 0 | 06MAY2011:10:30:00
2011 | 5 | 08/05/11 | Castelton Power, LLC | 7:35:00 PM | New York | Vandalism | UNK | 0 | 08MAY2011:19:35:00
2011 | 5 | 09/05/11 | Exelon Generation Company, LLC | 4:08:00 AM | Holtwood, Pennsylvania | Suspected Physical Attack | 630 | UNK | 09MAY2011:06:40:00
2011 | 5 | 09/05/11 | Public Service of New Hampshire | 1:11:00 PM | Milton, New Hampshire | Vandalism | 0 | 0 | 09MAY2011:13:11:00
2011 | 5 | 10/05/11 | Midwest Independent System Operator (MISO) | 3:25:00 AM | Upper Peninsula, Michigan | Generation Inadequacy; Load Shed; Electrical System Separation (Islanding) | 585 | 78213 | 11MAY2011:14:10:00
2011 | 5 | 10/05/11 | ISO New England | 1:45:00 PM | New Hampshire | Vandalism | 0 | 0 | 10MAY2011:15:00:00
2011 | 5 | 10/05/11 | American Electric Power | 10:21 PM | Kentucky, West Virginia | Severe Weather | UNK | 58000 | 11MAY2011:14:25:00
2011 | 5 | 11/05/11 | Duke Energy Carolinas | 12:15 AM | Charlotte, North Carolina | Severe Weather | 300 | 71000 | 11MAY2011:17:20:00
2011 | 5 | 11/05/11 | Central Hudson Gas & Electric Corp. | 11:00 AM | North Chelsea Substation, New York | Vandalism | 0 | 0 | 11MAY2011:11:30:00
2011 | 5 | 11/05/11 | PacifiCorp | 1:35:00 PM | Green River, Wyoming | Vandalism | 0 | 0 | 11MAY2011:13:35:00
2011 | 5 | 11/05/11 | Minnesota Power | 3:55:00 PM | Colbyville, Haines Road and Arrowhead Substations, Minnesota | Vandalism | 0 | 0 | 12MAY2011:13:57:00
2011 | 5 | 13/05/11 | PacifiCorp | 6:00:00 AM | Salt Lake, Utah | Vandalism | 0 | 0 | 13MAY2011:06:00:00
2011 | 5 | 21/05/11 | Terra-Gen Dixie Valley, LLC | 5:00:00 PM | Dixie Valley Area, Nevada | Physical Attack | 56 | UNK | 22MAY2011:18:34:00
2011 | 5 | 22/05/11 | Empire District Electric | 5:09:00 PM | Joplin, Sarcoxie, and Wentworth, Missouri | Severe Weather | 200 | 20000 | 31MAY2011:12:01:00
2011 | 5 | 23/05/11 | Ameren | 12:30 PM | St. Louis County, Missouri | Severe Weather | UNK | 70000 | 25MAY2011:12:30:00
2011 | 5 | 23/05/11 | Duke Energy Midwest | 4:45:00 PM | Central, Indiana | Severe Weather | 1024 | 215387 | 25MAY2011:23:59:00
2011 | 5 | 24/05/11 | Edison Mission Generation (Fisk Station) | 9:00:00 AM | Chicago, Illinois | Physical Attack | 0 | 0 | 25MAY2011:09:10:00
2011 | 5 | 24/05/11 | Dominion Virginia Power | 4:35:00 PM | Eastern Virginia | Severe Weather | 790 | 175000 | 25MAY2011:12:40:00
2011 | 5 | 24/05/11 | Oklahoma Gas & Electric | 4:45:00 PM | Central Oklahoma | Severe Weather | UNK | 54000 | 26MAY2011:17:00:00
2011 | 5 | 25/05/11 | Duke Energy Midwest | 10:14 PM | Central Indiana | Severe Weather | 200 | 141000 | 28MAY2011:11:00:00
2011 | 5 | 26/05/11 | Greenwood Utilities Commission | 1:00:00 AM | Greenwood, Mississippi | Transmission Level Interruption | 30 | 10000 | 26MAY2011:06:00:00
2011 | 5 | 26/05/11 | Southern Company | 6:30:00 PM | Southern Balancing Area, Georgia | Severe Weather | 729 | 218783 | 28MAY2011:04:44:00
2011 | 5 | 26/05/11 | PPL Electric Utilities | 7:56:00 PM | Central Pennsylvania | Severe Weather | 150 | 120001 | 27MAY2011:18:00:00
2011 | 5 | 29/05/11 | Consumers Energy | 6:30:00 PM | Mid and Southern Lower Peninsula, Michigan | Severe Weather | 250 | 113000 | 31MAY2011:22:00:00
Note: Customers affected are estimates and are preliminary.
Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'